# METHOD OF STATEMENT

Date: 28th Oct 2021

Description of work:

Using manual lifter to lift up equipment from pallet and position to location

Risk Assessment

A copy of Risk Assessment will be attached

Equipment Spec

3 pallet Dim: 117 x 126 x 86 cm each

Wt: 197 kg each

1 pallet dim: 100 x 100 cm

Date of Operation

03/11/21

Time of Operation

09:45 am

Location of Operation

NTU, 65 Nanyang Drive

Blk N3.1, B1-03

Equipment Use

1 x lifter

Pallet truck

Obstacles

Ensure no obstacles around operation area and route to equipment new location

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (safety shoe)

Job Scope

# Uncrate packages

# Using stacker to lift up equipment from pallet

# Shift and transport equipment into lab

# Position equipment at designated location

# Once job complete, proper housekeeping to be perform

# All debris will be clear and disposed

# Job complete

# Best Regards

# Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175