# METHOD OF STATEMENT

Date: 04th Apr 2017

Description of work

To relocate 1 unit Mistral 7107 CMM machine within customer workshop

Risk Assessment

A copy of Risk Assessment will be attached

Date / Time of Operation

18/04/2017 – 10:00 am

Location of Operation

#### No 16 Tuas Ave 7

ST Kinetics Integrated Engineering Pte Ltd

Equipment Use

Crowbar

Pallet truck

1 x 3 ton battery forklift

Obstacles

Ensure no obstacles around operation area and route to machine new location

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (etc., safety shoe, helmet)

# Job Scope

# Insert pallet truck to machine base

# Move out machine from old location

# Shift and transport machine to new designated location within premise

# Once job complete, team leader will instruct the team to perform proper housekeeping, all debris if any will be clear and remove