# METHOD OF STATEMENT

Date: 17th Oct 2022

Description of work

To relocate 1 unit 7.10.7 CMM machine and 1 unit Granite table 5m away within room

Risk Assessment

A copy of Risk Assessment will be attached

Date of Operation

19/10/22 (Wednesday)

Time of Operation

Afternoon schedule

Location of Operation

1 Pandan Crescent

Emerson Asia Pacific Pte Ltd

Equipment Use

1 x pallet truck

PVC sheet (to lay out for floor protection)

Plastic sheet (to cover machine after moving)

Obstacles

Ensure no obstacles around operation area and route to new location

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (safety shoe)

Job Scope

# Insert pallet truck under machine base

# Jack up pallet truck

# Shift out machine from existing location

# Transport machine 5m away to new location

# Position machine at the designated location

# Unload from pallet truck and insert levelling pad under onto machine base

# To cover machine with plastic sheet

# Once job complete, team leader will instruct the team to perform proper housekeeping

# All debris, if any will be clear and dispose

# Job complete

# Best Regards

# Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175