# METHOD OF STATEMENT

Date: 28th Nov 2023

Description of work

To relocate 1 unit Tigo CMM machine within room

Risk Assessment

A copy of Risk Assessment will be attached

Date of Operation

05/12/23

Time of Operation

09:45 am

Location of Operation

5 Tuas Dr 2

Turbine Overhaul Services Pte Ltd

Equipment Use

1 x pallet truck

Crowbar

Woodblock

Obstacles

Ensure no obstacles around operation area and route to new location

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (safety shoe)

Job Scope

# Insert pallet truck under machine base

# Jack up pallet truck

# Shift out machine from existing location

# Transport machine to new location within room

# Position machine at the designated location

# Unload from pallet truck and insert levelling pad under onto machine base

# Job complete

# Best Regards

# Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175