# METHOD OF STATEMENT

Date: 24th Sep 2020

Description of work

To relocate 4 unit equipment within lab room

Risk Assessment

A copy of Risk Assessment will be attached

Date of Operation

30/09/2020

Time of Operation

09:45 am

Location of Operation

#### 50 Nanyang Drive, Blk N4.1, B4-08

School Of Materials Science & Engineering

Equipment Use

Crowbar

Woodblock

Pallet truck

Metal plate/plywood (lay out for floor protection)

Obstacles

To clear all obstacles around operation area and route to machine new location

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (etc.., safety shoe)

Job Scope

# Lift up equipment to 3” high using crowbar

# Insert pallet truck under equipment base

# Shift out from existing location

# Transport to new location within lab area

# Position at the new designated location

# Unload equipment from pallet truck

# Once job complete, team leader will instruct the team to perform proper housekeeping

# Job complete

# Best Regards

# Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175