# METHOD OF STATEMENT

Date: 21th February 2024

Description of work

To relocate 5 units machine from lab to another lab within same level

Machine Spec

1 unit Semi Auto Low Pressure Line Printer (Wt: 1,500kgs)

1 unit Tabai Especially Oven PH-200 (Wt: 300kgs)

1 unit Force Air Convention Oven (Wt: 300kgs)

2 units Small Oven with Table (Wt: 300kgs)

Risk Assessment

A copy of Risk Assessment will be attached

Schedule of Operation

27/02/24

Time of Operation

09:45 am

Location of Operation

#### 5 Cleantech Loop

Singapore Institute of Manufacturing Technology

Equipment Use

Crowbar

Woodblock

Pallet truck

Canvas/metal sheet (to lay out for floor protection)

Obstacles

Ensure no obstacles around operation area and route to machine new location

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (safety shoe)

Job Scope

# Lift up machine to 3” high

# Insert pallet truck machine bed

# Shift machine from lab area to another lab within same floor

# Position machine at the new designated location

# Unload machine from pallet truck and insert levelling pad under machine bed

# Once job complete, team leader will instruct the team to perform proper housekeeping

# Any debris will be clean up and clear

# Job complete

# Best Regards

# Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175