# METHOD OF STATEMENT

Date: 21st Oct 2021

Description of work

To shift out machineries and equipment from cleanroom to loading bay via, load onto lorry chassis and deliver to another location, unload, shift and transport into cleanroom at 4th floor via cargo lift

Machine/Equipment Spec

Refer to quotation

Risk Assessment

A copy of Risk Assessment will be attach

Date of Operation

TBA

Time of Operation

09:45 am

Location of Operation

#### Move out – NTU Valley Block

Move in – 4 Fusionpolis Way, FP2 Kinesis Building

Equipment Use

2-3 x lorry crane

1 x forklift

Pallet truck/rollers

1 set wire/webbing sling

Canvas/PVC plate (to lay out for floor protection)

Obstacles

No obstacle on crane parking area and route to machine location

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and disposed

Lifting Crew

M.O.M certified lifting supervisor, rigger, signalman and lorry crane operator will be involved in this operation

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoes, safety helmet)

Lifting machine and lifting gear with M.O.M certificate

Lifting operation are supervise by M.O.M certified lifting supervisor, rigger and signalman

# JOB SCOPE

- To shift out machineries from cleanroom to loading bay

- Load equipment onto lorry chassis

- Secured equipment with strapping belt

- Transport and deliver equipment to new location

- Hoist down equipment from lorry chassis

- Insert pallet truck onto equipment base

- To lay out canvas/plywood to protect flooring

- Shift equipment into cleanroom at ground floor

- Position equipment at the designated location

- Once job complete, team leader will instruct the team to perform proper housekeeping

- All debris will be clear and dispose

- Job complete

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175