# METHOD OF STATEMENT

Date: 25th Jan 2018

Description of work

To hoist down 20 units Air Conditioner from roof top to ground floor and place aside

Risk Assessment

A copy of Risk Assessment will be attach

Date/Time of Operation

27/01/2018   -   09:00 am

Location of Operation

#### No 50 Defu Lane 7

Heng Long Leather Co. Pte Ltd

Equipment Use

1 x 50 ton mobile crane

Wire/webbing sling

Obstacles

No obstacle on crane parking area

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No lifting operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Lifting Crew

MOM certified lifting supervisor, rigger, signalman and mobile crane operator will be involved in this operation

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed

All our workers are fully equip with standard P.P.E. (etc.., safety shoes, safety helmet)

Lifting machine and lifting gear with M.O.M certificate

Lifting operation are supervise by M.O.M certified lifting supervisor, rigger and signalman

# JOB SCOPE

- Mobile crane to park at designated location for the hoisting

- Insert wire/webbing sling to hoisting point and hook onto crane

- Hoist up air conditioner from roof top

- Lower down air conditioner slowly to ground floor and place aside

- Once job complete, team leader will instruct the team to perform proper housekeeping

- All debris, if any will be dispose and clear

- Job complete

Remark:

MOS subject to change by supervisor/lifting supervisor on site

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175