# METHOD OF STATEMENT

Date: 03rd Nov 2020

Description of work

To shift out 1 unit equipment from 3rd floor to loading bay via cargo lift, load up onto lorry chassis and deliver to another location

Equipment Spec

Dim: 66 x 63 x 98 cm

Risk Assessment

A copy of Risk Assessment will be attach

Date of Operation

06/11/2020 (Friday)

Time of Operation

Afternoon schedule

Location of Operation

#### Collection: IMCB Lab, 61 Biopolis Drive, Level 3

Deliver: 31 Biopolis Way, #04-64

Equipment Use

1 x 633 lorry loader

Pallet truck

Obstacles

No obstacle on crane parking area

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoes, safety helmet)

Lifting operation are supervised by M.O.M certified lifting supervisor, rigger and signalman

# JOB SCOPE

- Reverse lorry loader to loading bay

- To shift out equipment from 3rd floor to loading bay via cargo lift

- Load item onto lorry chassis

- Secured item with strapping belt

- Transport item to new location

- Reverse lorry loader to loading bay

- Load equipment onto pallet truck

- Transport equipment to 4th floor via cargo lift

- Position equipment at the designated location

- Once job complete, team leader will instruct the team to perform proper housekeeping

- Job complete

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175