# METHOD OF STATEMENT

Date: 10th Nov 2021

Description of work

To shift out compressor No 3 for clearance, move out compressor No 1, using forklift to load up onto forwarder lorry

Risk Assessment

A copy of Risk Assessment will be attach

Date of Operation

23/11/21

Time of Operation

09:45 am

Location of Operation

#### 11 Science Park Rd

IME Building

Equipment Use

1 x 633 lorry loader

1 x 3ton low mass forklift

Pallet truck

Woodblock

Obstacles

No obstacle on loading and crane parking area

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and disposed

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoes, safety helmet)

M.O.M certified forklift operator will be involved in this operation

# JOB SCOPE

- Deploy lorry loader at designated unloading area

- To shift out compressor from compressor room at basement carpark

- Using low mass forklift to fork up compressor to loading area

- Load compressor onto forwarder lorry

- To shift back compressor No 3 to exact location

- Once job complete, team leader will instruct the team to perform proper housekeeping

- Job complete

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175