# METHOD OF STATEMENT

Date: 02nd Oct 2019

Description of work

To shift out 1 unit CMM machine and accessory from customer premise at ground floor to loading area, fork up onto lorry chassis and deliver to Singapore Expo

Machine Spec

Coordinate Measuring Machine / M: LH87-1000

Dim: 212 x 165 x 127 cm

Wt: 2, 460 kgs

Risk Assessment

A copy of Risk Assessment will be attach

Date of Operation

18-19/10/2019

Time of Operation

09:30 am

Location of Operation

#### 180 A.M.K Ave 8, Building S, S118A

Nanyang Polytechnic

Equipment Use

1-2 x lorry crane

Pallet truck

1 x forklift

Obstacles

No obstacle on crane parking area

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No lifting operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoes, safety helmet)

M.O.M certified forklift operator will be involved in this operation

# JOB SCOPE

- Shift out machine and accessory from workshop

- Transport machine to loading area

- Using forklift to fork up machine

- Load machine onto lorry chassis

- Secured with strapping belt prior to moving out of premise

- Transport and deliver to Singapore Expo

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175