# METHOD OF STATEMENT

Date: 21 Aug 2014

Description of work

To shift out 1 unit Cooling Tower from pump room, hoist up to 2nd floor, shift and reposition to new location

Risk Assessment

A copy of Risk Assessment will be attach.

Date / Time of Operation

26/08/2014

Location of Operation

#### No 21 Loyang Cresent

Messier Services Asia Pte Ltd

- Equipment Use

Lorry crane

Pallet truck / rollers

Wire / webbing sling

*   Obstacles

No obstacle on crane parking area.

Barricade operation area to prevent persons who are not involved enter unintentionally.

- Environment

No lifting operation will be carry out on heavy rain, thunderstorms and lightning weather.

All debris will clear and dispose

- Lifting Crews

MOM certified lifting supervisor, rigger, signalman, lorry loader operator will be involved in this operation (attached all lifting crews certificate)

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety helmet, safety shoe, etc)

Lifting machine and lifting gear with M.O.M cert.

Lifting operation are supervise by MOM certified lifting supervisor, rigger and signalman.

# JOB SCOPE

- Lorry crane to park at designated hoisting area for the lift

- Barricade operation area

- Shift out cooling tower from pump room and load onto lorry chassis

- Move lorry to site building

- Hoist up cooling tower to 2nd floor

- Shift and reposition cooling tower to the designated location

- Once job complete, team leader will instruct the team to perform proper housekeeping, all debris will be clear and dispose

- Job complete

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175