# METHOD OF STATEMENT

Date: 10th Apr 2023

Description of work

To shift out 1 unit Measurement System and 1 unit Anti-Vibration Table from old factory and transfer to new factory

Risk Assessment

A copy of Risk Assessment will be attach

Date of Operation

11/04/23

Time of Operation

09:45 am

Location of Operation

#### Fu Yu Corporation Limited

#### Move out: 8 Tuas Dr 1

Move in: 9 Tuas Dr 1

Equipment Use

1 x lorry loader

Pallet truck

Obstacles

To clear all obstruction in way of working area

Environment

All debris will be clear and dispose after work completion

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoe, safety helmet)

Job Scope

To assist engineer in dismantling of anti-vibration table

Load onto pallet truck

Shift out from old factory

Transport into new factory

Position at the designated location

Assist engineer to assemble of anti-vibration table

Once job complete, team leader will instruct the team to perform proper housekeeping

Job complete

Best Regards

Zailani / Kevin Wong

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175