# METHOD OF STATEMENT

Date: 08th Jan 2024

Description of work

Transport lorry crane into inside customer premise, hoist up equipment from temporary location to actual location

Machine Spec

1 unit Equipment

Wt: 12, 500 kg

Risk Assessment

A copy of Risk Assessment will be attach

Date of Operation

10/01/24

Time of Operation

09:45 am

Location of Operation

158A Gul Circle

DNV

Equipment Use

1 x 110ton lorry crane

Wire sling

Shackle

Obstacles

Clear obstruction in way of working area and route to machine position

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No lifting operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Lifting Crew

M.O.M certified lifting supervisor, rigger, signalman and lorry crane operator will be involved in this operation

Safety Aspect

Barricade off work area with safety cones, red/white tape and lifting in operation signage

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoe, safety helmet)

Lifting machine and lifting gear with M.O.M certificate

Lifting operation are supervise by M.O.M certified lifting supervisor, rigger and signalman

# Job Scope

- Transport lorry loader into inside customer factory

- Deploy lorry loader at designated hoisting location

- Riggers to insert sling to crane hook

- Secured sling to rigging point of equipment

- Hoist up equipment

- Swing crane to actual equipment location

- Lower down and position equipment at the designated location

- Once job complete, team leader will instruct the team to perform proper housekeeping

- All debris will be clear and dispose

- Job complete

Best Regards

Kevin Wong / Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175