# METHOD OF STATEMENT

Date: 17th Oct 2025

Description of work

Using forklift to unload cases from forwarder lorry, uncrate, shift and position into lab at 3rd floor via cargo lift

Machine Spec

3 crate of 1 unit machine

Case 1: 132 x 79 x 112 cm / Wt: 268 kg

Case 1: 122 x 122 x 107 cm / Wt: 129 kg

Case 1: 102 x 82 x 163 cm / Wt: 244 kg

Risk Assessment

A copy of Risk Assessment will be attached

Date of Operation

23/10/25

Time of Operation

09:00 am

Location of Operation

10 Science Park Rd

The Alpha, Science Park II

Equipment Use

1 x 633 lorry loader

1 x 3ton battery forklift

Pallet truck

Crowbar

Woodblock

Obstacles

Ensure no obstacles around operation area and route to machine position

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No operation will be carried out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equipped with standard PPE (safety shoe, safety helmet)

M.O.M certified forklift operator

# Job Scope

# Deploy lorry loader at designated unloading area

# Using forklift to unload cases from forwarder lorry chassis to the ground

# Uncrate case and put aside

# Fork/hoist up to detach from base

# Unload machine near door entrance

# Using pallet truck to transport into lab at 3rd floor via cargo lift

# Position at the designated location

# Once job complete, team leader will instruct the team to perform proper housekeeping

# All debris will be clear and dispose

# Job complete

# Best Regards

# Kevin Wong / Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175