# METHOD OF STATEMENT

Date: 13th Feb 2019

Description of work

To shift out 1 unit machine from 3rd floor to loading via cargo lift, load onto lorry chassis, transport to new location, unload from lorry chassis to loading bay using forklift, shift and position to 11th floor via cargo lift

Machine Spec

1 unit Global Performance 7.10.7 CMM

Date of Operation

20/02/2019

Time of Operation

Afternoon schedule – After Hexagon engineer lock up machine

Location of Operation

#### 11 Lower Kent Ridge Rd 3rd floor   -

#### 9 Lower Kent Ridge Rd 11th floor

Equipment Use

1 x lorry crane

Pallet truck

1 x forklift

Webbing sling

Plywood – for epoxy floor protection

Obstacles

Ensure no obstacles around operation area and route to machine position

Environment

No operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Safety Aspect

All personnel at site to ensure that risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (safety shoe, safety helmet)

M.O.M certified forklift operator

# Job Scope

# Shift out machine from lab at 3rd floor to loading bay

# Load machine onto lorry chassis

# Secured machine with strapping belt

# Transport machine to new location

# Lorry crane to park at the designated location

# Hoist down forklift from lorry chassis

# Using forklift to unload machine from lorry chassis to loading bay

# Unload machine at loading bay

# Using pallet truck to transport machine into lab at 11th floor via cargo lift

# Position machine at the designated location

# Once job complete, team leader will instruct the team to perform proper housekeeping

# All debris, if any will be clear and dispose

# Job complete

# Best Regards

# Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175