# METHOD OF STATEMENT

Date: 10th Sep 2020

Description of work

Drilling hole to fix anchor bolt onto 1 pcs steel plate

Date of Operation

TBA

Time of Operation

TBA

Location of Operation

#### 1 Pandan Crescent

Emerson Asia Pacific Pte Ltd

Equipment Use

Power Drill

Low plug

Hammer

Environment

All debris will clear and dispose

Safety Aspect

All personnel is pre-briefed before commencement of work

All personnel at site to ensure risk control are known and supervisor has to ensure that risk control are in place

All our workers are equip with standard PPE (safety shoe, safety glass)

# Job Scope

# Deliver steel plate to customer premise

# Use pallet truck to transport steel plate into factory premise at ground floor

# Position at designated location

# Do marking for drilling

# Drill hole and fix anchor bolt onto steel plate

# Once job complete, team leader will instruct the team to perform proper housekeeping

# All debris will be clear and dispose

# Best Regards: Zailani

# Eric Wong Machinery Transportation Pte Ltd

# Tel: 62824175