# METHOD OF STATEMENT

Date: 25th Jan 2018

Description of work

To hoist down 20 unit Air Conditioner from roof top to ground floor and place aside

Risk Assessment

A copy of Risk Assessment will be attach

Date / Time of Operation

27/01/2018   -   09:00 am

Location of Operation

#### No 50 Defu Lane 7

Heng Long Leather Co. Pte Ltd

Equipment Use

1 x 50 ton mobile crane

Wire/webbing sling

Obstacles

No obstacle on crane parking area

Barricade operation area to prevent persons who not involved enter unintentionally

Environment

No lifting operation will be carry out on heavy rain, thunderstorms and lightning weather

All debris will clear and dispose

Lifting Crew

M.O.M certified lifting supervisor, rigger, signalman and mobile crane operator will be involved in this operation

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed

All our workers are fully equip with standard P.P.E. (etc.., safety shoes, safety helmet)

Lifting machine and lifting gear with M.O.M certificate

Lifting operation are supervise by M.O.M certified lifting supervisor, rigger and signalman

# JOB SCOPE

- Mobile crane to park at designated hoisting area

- Use tagline to control the swing motion of platform

- Stabilize platform and ensure it is fully rested on the opening slab

- Use strong belt to secure front left and right of platform to prevent platform swing outward

- Shift out and load machine onto platform

- Tied and secured machine onto platform with strapping belt

- Hoist down platform together with machine

- Load machine onto lorry, secured and deliver to new location at ground floor

- Once job complete, team leader will instruct the team to perform proper housekeeping, all debris will be clear and dispose

- Job complete

Best Regards

Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175