# METHOD OF STATEMENT

Date: 08th Sep 2025

Description of work

To unload metal plate from trailer and lay out onto grass patch using forklift

Spec

Metal plate

Dim: 6m x 1.5m

Risk Assessment

A copy of Risk Assessment will be attached

Date of Operation

Estimate:

17-18/09/25

Time of Operation

10:00 am

Location of Operation

#### 1 Bulim Lane 2 #05-

Leadtech Precision Engineering

Equipment Use

1 x 633 lorry loader

1 x 4.5ton forklift

1 x trailer

Obstacles

No obstacle on unloading area

Barricade operation area to prevent persons who are not involved enter unintentionally

Environment

No operation will be carried out on heavy rain, thunderstorms and lightning weather

All debris will be clear and dispose

Safety Aspect

All personnel have to ensure that risk control are known and supervisor has to ensure that risk control are in placed                                                                                                                            All our workers are fully equip with standard P.P.E. (safety shoes, safety helmet)

M.O.M certified forklift operator

# JOB SCOPE

- Deploy trailer at designated unloading area

- Using forklift to unload metal plate from trailer

- Unload and lay out metal plate along grass patch till hoisting area

- Once job complete, team leader will instruct the team to perform proper housekeeping

- All debris will be clear and dispose

- Job complete

Best Regards

Kevin Wong / Zailani

Eric Wong Machinery Transportation Pte Ltd

Tel: 62824175